## Slide 1: BIOE 498 / BIOE 599 Advanced Biological Control Systems Lecture 2: Elements of Closed Loop Systems
Joseph L. Hellerstein
January 8, 2025
eScience Institute, Computer Science & Engineering
Allen School of Computer Science
BioEngineering
Notes: Diverse students. Some with bio-backgrounds; some without. Some with CS background; some with very limited. Two separate courses combined because of a substantial shared curriculum.

## Slide 2: Agenda
Terminology
Controllers
Filters
Testbed-based control design

## Slide 3: Signals & Systems
Signal
  a time series
System
  Transforms one signal(s) into another signal(s)
1 | 0.2
2 | 0.4
3 | 0.8
4 | 1.6
1 | 0.2
2 | 0.4
3 | 0.8
4 | 1.6
 | y
1 | 0.2
2 | 0.6
3 | 1.2
4 | 2.4
1 | 0.2
2 | 0.6
3 | 1.2
4 | 2.4
1 | 0.2
2 | 0.4
3 | 0.8
4 | 1.6
1 | 0.2
2 | 0.4
3 | 0.8
4 | 1.6

## Slide 4: Control Architecture
Signals
: reference input
: control error
: measured output
: filtered output
: Actuator disturbance
: Measurement Noise
Systems
Open loop system (OLS)
Controller
Filter
C (compensation)
Controller
+
+
Measurement
Noise
+
Actuator
Disturbance
f
m
m
C
Notes: Why doesn’t a filter help with measurement noise? Verify transfer functions.

## Slide 5: Control Architecture Without d(t), n(t)
Controller
+
+
Measurement
Noise
+
Actuator
Disturbance
f
m
m
C
Notes: Why doesn’t a filter help with measurement noise? Verify transfer functions.

## Slide 6: Control Architecture Without r(t), d(t)
Controller
+
0
+
Measurement
Noise
+
Actuator
Disturbance
f
m
m
0
C
Notes: Why doesn’t a filter help with measurement noise? Verify transfer functions.

## Slide 7: Control Architecture Without r(t), d(t)
Controller
+
C
setpoint
output
Notes: Why doesn’t a filter help with measurement noise? Verify transfer functions.

## Slide 8: Proportional, Integral, Differential (PID) Controllers
PID controllers are widely used.
3 different control mechanisms that can be used in combination
All have a single input and a single output.
All make use of the control error.
Controller
+
+

## Slide 9: Proportional Control
Only takes into account the current error.
Appeal
Simplicity, responds to change in current control error.
Issues
Biased since once at reference value, u(t) goes to 0.

## Slide 10: Integral Control
Considers entire history of control errors.
Appeal
Unbiased
Issues
Slow response

## Slide 11: Differential Control
Senses change in control errors.
Appeal
Fast response to changes.
Issues
Works poorly with noise.

## Slide 12: Common Controllers
+
+
P Control
PI Control
PID Control
PI Control

## Slide 13: Filters
Controller
+
+
+
-
Discrete time
Continuous time state equations
Rule of thumb:
Use small kF for weak signal
Use large kF for strong signal